Application Form

for

Component Registration

Date:

Receipt No.:

(For JET Use Only)

To the President,

Japan Electrical Safety & Environment Technology Laboratories:

Company:

Address:

Name:

(Signature or Stamp)

I wish to register the component described below in accordance with JET’s

Guidelines on Registration of Certified Components, and hereby apply for registration

in accordance with the provisions of Section 4.1 of the Implementation Guidelines.

1. Product name: Connector for PV Modules

2. Model number:

3. Ratings:

Rated voltage, rated frequency, rated current (attach technical information on materials,

configuration, dimensions, etc.) Please fill in to “Attached Sheet for Application form” for details.

4. Name and address of applicant:

5. Registration format:  Component manufacturer registration format

Assembling manufacturer registration format

6. Name and address of manufacturing factory (list all if more than one):

7. Testing standards:   Description of the technical requirements by the METI Ordinance.

(APPENDIX　　　　　　　　　　　　　　　　　　　　　　　　)

Other (specify: IEC61730-1:2004 clause 5.1, 5.3, and 7.3)

8. Application type   New application

Additional application (registration number: )

9. Contact person:

Company, Address, Name, Tel, Fax and E-mail:

Technical Specification (Attached Sheet for Application form)

- Specification of connector

| Manufacturer Name |  |
| --- | --- |
| (2) Model number and Ratings （If necessary, describe in accompanying sheet.） |
| Model number | Rated voltage(V) | Rated current(A) | Can be separated without the use of a tool? | Is there earth terminal? | Thickness of the thinnest part (mm) （If known） |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
|  |  |  | Yes No |  |  |
| (3) Insulation material used for a connector Please fill in below all the insulation materials used for a connector also including bushing and O-ring. Please specify in a drawing for which part the insulation material is used. JET chooses "polymers serving to support live part" from here, and Main test is carried out to an applicable insulation material. |
| Material Name | Manufacturer Name | Grade Name | Thickness (mm) | Color | CMJ registration No. （If known） a) |
| (4) Please be sure to attach a drawing of female connector and male connector. （Please describe in accompanying sheet.） Please specify in a drawing for which part the insulation material is used. |

Note a)： CMJ registration is a system of registering in advance the parts and material used for an

electric product, in order to certificate electric product economically and efficiently.

Certification body of insulation material is JET. If there is registration of flammability (horizontal burning or vertical burning), there is no necessity to test for clause 5.3 a) of flammability.

Registration No. For example：“V-0000”, “H-0000”

Database of CMJ registration http://www.jet.or.jp/jetdb

| (5) Please fill in the information on all the cables (with PSE mark or S mark) linked to the target connector except the cables between ｊunction box and connector. (If necessary, describe in accompanying sheet.) |
| --- |
| 1 | Is there S-mark? Yes No | Certification No. of S-JET |  |
|  |  | Model number |  |
|  | Is there PSE-mark? Yes No | Marking of <PS>E | <PS>E (e.g. <PS>E JET AA 227 IEC 52 2x0.75mm2 BBBBB） |
|  | Area of conductor and external dimensions of cable | Area oｆ conductor sq External dimensions of cable mmφ |
| 2 | Is there S-mark? Yes No | Certification No. of S-JET |  |
|  |  | Model number |  |
|  | Is there PSE-mark? Yes No | Marking of <PS>E | <PS>E (e.g. <PS>E JET AA 227 IEC 52 2x0.75mm2 BBBBB） |
|  | Area of conductor and external dimensions of cable | Area oｆ conductor sq External dimensions of cable mmφ |
| 3 | Is there S-mark? Yes No | Certification No. of S-JET |  |
|  |  | Model number |  |
|  | Is there PSE-mark? Yes No | Marking of <PS>E | <PS>E (e.g. <PS>E JET AA 227 IEC 52 2x0.75mm2 BBBBB） |
|  | Area of conductor and external dimensions of cable | Area oｆ conductor sq External dimensions of cable mmφ |
| 4 | Is there S-mark? Yes No | Certification No. of S-JET |  |
|  |  | Model number |  |
|  | Is there PSE-mark? Yes No | Marking of <PS>E | <PS>E (e.g. <PS>E JET AA 227 IEC 52 2x0.75mm2 BBBBB） |
|  | Area of conductor and external dimensions of cable | Area oｆ conductor sq External dimensions of cable mmφ |
| 5 | Is there S-mark? Yes No | Certification No. of S-JET |  |
|  |  | Model number |  |
|  | Is there PSE-mark? Yes No | Marking of <PS>E | <PS>E (e.g. <PS>E JET AA 227 IEC 52 2x0.75mm2 BBBBB） |
|  | Area of conductor and external dimensions of cable | Area oｆ conductor sq External dimensions of cable mmφ |
| 6 | Is there S-mark? Yes No | Certification No. of S-JET |  |
|  |  | Model number |  |
|  | Is there PSE-mark? Yes No | Marking of <PS>E | <PS>E (e.g. <PS>E JET AA 227 IEC 52 2x0.75mm2 BBBBB） |
|  | Area of conductor and external dimensions of cable | Area oｆ conductor sq External dimensions of cable mmφ |

- Preliminary check

Please be sure to send the actual connectors (female and male connectors without cable are separated. Quantity: 2 pieces each) before the Main test.

These samples may be disassembled and damaged.   Agree        Disagree

- Main test （Requirements of IEC61730-1）

Please fill in necessary information on the following parts. Please tick or fill in. (See the Red Part.)

Note1: There are some items, specific test standards of which are not clearly described in IEC61730-1:2004. For this reason it is necessary that the applicant and JET negotiates about the most general test standard to be used. Please answer the part with the check box whether you can agree.

Note2: ” insulation material used for” means the specimen which carried out the molding operation

to the size of the regulation to material testing instead of the form of the connector itself.

Note3: ”End product” means the form of the connector itself

When there is the item which has been already tested in JET, please fill in.

(JET keeps the test report for 2 years.)

Test report number or Application No. of component registration

Please choose language of “Certificate of registration” English Japanese English+Japanese (additional fee)

The information necessary for the certification of PV modules is listed in appendix of registration certificate.

For request of further more information and numerical data, JET will issue test report in detail version.

English (additional fee) Japanese (additional fee)  English+Japanese(additional fee) Unnecessary

3-1．Requirements of insulation material of connector

| Item | Specifications prescribed in IEC61730-1 |
| --- | --- |
| 5.1 7.3.1 | RTI value Please be sure to attach the document that proves certification of RTI for insulation material of connector. |
| 5.3 a) | Flammability class and High-current arc ignition rating (HAI) The target is insulation material used for connector. Flammability class IEC60695-11-10：1999 +Amd.1:2003 High-current arc ignition rating UL746C clause11 Fulfill any one of the followings. 1. Flammability class HB and HAI 60 2. Flammability class V-2 and HAI 30 3. Flammability class V-1 and HAI 30 4. Flammability class V-0 and HAI 15 Note: When the test of a high-current arc ignition rating fulfills required value, it is considered as completion./ For example: When flammability class is more than V-0, high-current arc ignition rating completes the test in the stage exceeding 15.(Pass) Agree Disagree |
| 5.3 b) 7.3.1 | Comparative Tracking Index The target is insulation material used for connector. Even if the maximum system operating voltage is 601-1500V, test of IEC60112 (CTI250) is conducted as a substitute of ASTM D2303. (1 h using the time to track method at 2,5 kV) Agree Disagree The test meets the requirement of following method a) or b). PTI250 (only 250V is measured) by IEC60112 Method to calculate voltage from the curve indicating relations of the number of the 50 drops and the voltage when tracking destruction is produced. Agree Disagree |
| 5.3 d) 7.3.3 a) | UV test (1) The target is insulation material used for connector. (2) Apply the following test method before and after 1,000 h radiation. (ANSI/UL 746C) 1. Flammability test (before and after radiation) IEC60695-11-20:1999 +Amd.1:2003 Flammability class shall not change before and after radiation. Expected flammability class （if known） ( HB V-2 V-1 V-0 ) 2. Tensile strength (before and after radiation) JIS K 7161:1994 (IDT: ISO5271) Test speed (5mm/min)The property values after radiation shall not be less than 70percent. 3. Tensile impact strength (before and after radiation) ASTM D 1822-06 The property values after radiation shall not be less than 70 percent. Agree Disagree |

3-2．Requirements of connector (End product)

| Item | Specifications prescribed in IEC61730-1 |
| --- | --- |
| 7.3.1 | Dielectric withstand test Test voltage: 2000V + 4 x Rated voltage (V) Agree Disagree |
| 7.3.2 | Marking about disconnect; There is a marking of “Do not disconnect under load”. |
| 7.3.3 b) | Resistance to inclusion of water: equivalent to IP55 |
| 7.3.3 c) | Impact test "IEC61721" which is already withdrawn is quoted in IEC61730-1. Therefore, the following two tests are carried out as substitution. 1．IEC60512-5:1992 Impact test (Tumbling barrel） Reason: It is quoted in JIS C 8992-1:2010(IDT to IEC 61730-1:2004) 7.3.3 c). 2．IEC60068-2-75:1997 Impact test (Hummer) Reason: Since a possibility of being quoted by 2nd Edition of IEC 61730-1. Agree Disagree |
| 7.3.3 d) | Accessibility test |
| 7.3.4 | Polarity of connector |
| 7.3.5 | Shape of a grounding member (Earth terminal) |
| 7.3.6 | Connectors that can be separated without the use of a tool shall not have accessible conductive parts |

Note:1. Sample size and quantity of “insulation material used for connector”.

- 5.3 a) d) For flammability class （incl. “UV test”） and High-current arc ignition rating

125mm ± 5mm×13mm ± 0.5mm Quantity: 45

Please adjust in the thickness which does not exceed “Declared thickness of the thinnest part (mm)”.

- 5.3 d) For tensile strength and tensile impact

（UV Test）  See the figure

Quantity: 65

Thickness:　“Declared thickness of the

thinnest part (mm)”±10％

- For “Comparative Tracking Index”

approx.100×100mm Thickness: more than 3.0mm Quantity: approx.5

2. Sample size and quantity of “connector (End product)”.

(1) Dielectric withstand test

Male connector and Female connector are separated.(with cable) 6 pieces each

(2) Resistance to inclusion of water: equivalent to IP55

Male connector and Female connector are separated.(with cable) 5 pieces each

(3) Impact test

Male connector and Female connector are separated.(with cable) 7 pieces each

Male connector and Female connector are separated.

(with cable/ Length of cable: More than 2.5m) 4 pieces each

(4) Marking, Accessibility test and etc.

Male connector and Female connector are separated.(with cable) 1 pieces each

rev.2015.2.6

# Text boxes

Approx.

9.53㎜

Width: 3.18mm±0.03㎜

Approx. 63.50mm