Application Form

for

Component Registration

Date:

Receipt No.:

(For JET Use Only)

To the President,

Japan Electrical Safety & Environment Technology Laboratories:

Company:

Address:

Name:

(Signature or Stamp)

I wish to register the component described below in accordance with JET’s

Guidelines on Registration of Certified Components, and hereby apply for registration

in accordance with the provisions of Section 4.1 of the Implementation Guidelines.

1. Product name: Junction box for PV Modules

2. Model number:

3. Ratings:

Rated voltage, rated frequency, rated current (attach technical information on materials,

configuration, dimensions, etc.)  Please fill in to “Attached Sheet for Application form” for details.

4. Name and address of applicant:

5. Registration format:  Component manufacturer registration format

Assembling manufacturer registration format

6. Name and address of manufacturing factory (list all if more than one):

7. Testing standards:   Description of the technical requirements by the METI Ordinance.

(APPENDIX　　　　　　　　　　　　　　　　　　　　　　　　)

Other (specify: IEC61730-1:2004 clause 5.1,5.2,5.3,10)

8. Application type   New application

Additional application (registration number: )

9. Contact person:

Company, Address, Name, Tel, Fax and E-mail:

Technical Specification (Attached Sheet for Application form)

- Specification of Junction box (incl. Terminal block)

Please fill in necessary information on the following parts. Please tick or fill in. (See the Red Part.)

| Manufacturer Name |  |
| --- | --- |
| (2) Model number and Ratings |
| Model number | Max Rated voltage (V) | Is there any Diode? Y=Yes, N=No Y/N=Yes or No | Number of terminals | Please choose | Thickness of the thinnest part (mm) （If known） |
|  |  |  |  | Factory wired compartments | Field wiring terminals |  |
|  |  | Y Y/N N |  |  |  |  |
|  |  | Y Y/N N |  |  |  |  |
|  |  | Y Y/N N |  |  |  |  |
|  |  | Y Y/N N |  |  |  |  |
|  |  | Y Y/N N |  |  |  |  |
|  |  | Y Y/N N |  |  |  |  |
|  |  | Y Y/N N |  |  |  |  |
|  |  | Y Y/N N |  |  |  |  |
|  |  | Y Y/N N |  |  |  |  |
|  |  | Y Y/N N |  |  |  |  |
| (3) Insulation material used for a junction box |
| Material Name | Manufacturer Name | Grade Name | Thickness (mm) | Color |
| (4) Insulation material used for a terminal block It is a same material as a junction box （There is no necessity to fill in the followings） It is not a same material as a junction box （Please fill in the followings） |
| Material Name | Manufacturer Name | Grade Name | Thickness (mm) | Color | CMJ registration No. （If known） a) |
| (5) Insulation material used for gaskets, seals and potting materials (If any) |
| Material Name | Manufacturer Name | Grade Name |
| (6) Please be sure to attach a drawing.（Please describe in accompanying sheet.） Please specify in a drawing for which part the insulation material is used. |

Note  a)： CMJ registration is a system of registering in advance the parts and material used for an electric product, in order to certificate electric product economically and efficiently.

Certification body of insulation material is JET. If there is registration of flammability (horizontal burning

or vertical burning), there is no necessity to test for clause 5.3 a) of flammability.

Registration No. For example: “V-0000”, “H-0000” (Database of CMJ registration http://www.jet.or.jp/jetdb)

- Preliminary check

Please be sure to send the 3 actual junction boxes before the Main test.

(In case that there is a cover, please separate a cover and a case.)

These samples may be disassembled and damaged.   Agree        Disagree

- Main test （Requirements of IEC61730-1）

Note1: There are some items, specific test standards of which are not clearly described in IEC61730-1:2004. For this reason it is necessary that the applicant and JET negotiates about the most general test standard to be used. Please answer the part with the check box whether you can agree.

Note2:” insulation material used for” means the specimen which carried out the molding operation

to the size of the regulation to material testing instead of the form of product itself.

Note3:”End product” means the form of the product itself.

When there is the item which has been already tested in JET, please fill in.

(JET keeps the test report for 2 years.)

Test report number or Application No. of component registration

Please choose language of “Certificate of registration” English Japanese English+Japanese (additional fee)

The information necessary for the certification of PV modules is listed in appendix of registration certificate.

For request of further more information and numerical data, JET will issue test report in detail version.

English (additional fee) Japanese (additional fee)  English+Japanese(additional fee) Unnecessary

3-1．Requirements of insulation material of Junction box

| Item | Specifications prescribed in IEC61730-1 |
| --- | --- |
| 5.1 | RTI value Please be sure to attach the document that proves certification of RTI for insulation material of junction box. |
| 5.2 a) | Flammability class is required 5VB or better The target is insulation material used for housing of junction box. IEC60695-11-20:1999 +Amd.1:2003 Agree Disagree |
| 5.2 b) | Flammability class (after water immersion and exposure) is required 5VB or better The target is insulation material used for housing of junction box. Normative reference: UL746C clause 26 and 58 （water exposure and immersion） In water at 82℃ for 7days + In air at 23℃and 50% RH for 2weeks（flammability test only） Flammability class (after water immersion and exposure) is required 5VB. IEC60695-11-20:1999 +Amd.1:2003 Agree Disagree |
| 5.2 c) | UV test (1) The target is insulation material used for housing of junction box. (2) Apply the following test method before and after 1,000 h radiation. (ANSI/UL 746C) 1. Flammability test (before and after radiation) IEC60695-11-20:1999 +Amd.1:2003 Flammability class shall not change before and after radiation. 2. Tensile strength (before and after radiation) JIS K 7161:1994 (IDT: ISO5271) Test speed (5mm/min)The property values after radiation shall not be less than 70percent. 3. Tensile impact strength (before and after radiation) ASTM D 1822-06 The property values after radiation shall not be less than 70 percent. Agree Disagree |
| 5.2 d) | Hot wire ignition test (Rating: more than 30s) The target is insulation material used for housing of junction box. (2) IEC standard (IEC60695-2-20) of hot wire has been already withdrawn as of August, 2014.Therefore, JIS (JIS C 60695-2-20:2001) which has quoted this IEC is used as test standard. Agree Disagree |

3-2．Requirements of insulation material of Terminal block

| Item | Specifications prescribed in IEC61730-1 |
| --- | --- |
| 5.1 | RTI value When the housing materials of junction box and terminal block differ, please be sure to attach the document that proves certification of RTI for insulation material of terminal block. |
| 5.3 a) | Flammability class and High-current arc ignition rating (HAI) Flammability class IEC60695-11-10：1999 +Amd.1:2003 High-current arc ignition rating UL746C clause11 Fulfill any one of the followings. 1. Flammability class HB and HAI 60 2. Flammability class V-2 and HAI 30 3. Flammability class V-1 and HAI 30 4. Flammability class V-0（or5VB） and HAI 15 Note: When the test of a high-current arc ignition rating fulfills required value, it is considered as completion./ For example: When flammability class is more than 5VB, high-current arc ignition rating completes the test in the stage exceeding 15.(Pass) Agree Disagree |
| 5.3 b) | Comparative Tracking Index Even if the maximum system operating voltage is 601-1500V, test of IEC60112 (CTI250) is conducted as a substitute of ASTM D2303. (1 h using the time to track method at 2.5 kV) Agree Disagree The test meets the requirement of following method a) or b). PTI250 (only 250V is measured) by IEC60112 Method to calculate voltage from the curve indicating relations of the number of the 50 drops and the voltage when tracking destruction is produced. Agree Disagree |

3-3．Requirements of Junction box (End product)

| Item | Specifications prescribed in IEC61730-1 |
| --- | --- |
| 10.1 | Field wiring compartments with covers shall be enclosed wiring compartment |
| 10.2 | In the case of polymeric material, the minimum thickness of a wall is 3 mm Even when the thickness of a wall is less than 3 mm, it will be fulfilling if the flammability class of the insulation material used for the housing of a junction box is more than 5VB. Agree Disagree |
| 10.5 | Gaskets and seals Please be sure to attach the document that proves certification of RTI for insulation material of gaskets and seals. The junction box which fills potting materials by all means, please be sure to attach the document that proves certification of RTI of potting materials. |
| 10.7 | Sharp edges The enclosure shall be smooth and free from sharp edges, burrs, or the like that may damage insulation or conductors. |
| For field wiring terminals, clause 7.2, 10.3, 10.4, and 10.6 need to be checked. |
| 7.2 | Field wiring terminals See clause 7.2.1 and 7.2.2 |
| 10.3 | Internal volume A minimum internal volume for each intended conductor, including integral conductors of the module, shall be provided in a wiring compartment, within 5 % as given in standard. |
| 10.4 | Openings All openings shall be provided with appropriate coverings. |
| 10.6 | Strain relief Strain relief shall be provided so that stress on a lead is not transmitted to the electrical connection inside the module. |

Note:1. Sample size and quantity of “insulation material used for housing of junction box”.

(1) 5.2 a), b), c) For flammability class （incl. “after water immersion and exposure” and “UV test”）

125mm ± 5mm×13mm ± 0.5mm Quantity: 65

Please adjust in the thickness which does not exceed “Declared thickness of the thinnest part (mm)”.

(2) 5.2 c) For tensile strength and tensile impact

(UV test)  See the figure

Quantity: 65

Thickness:　“Declared thickness of the

thinnest part (mm)”±10％

(3) 5.2 d) For hot wire ignition test

125mm ± 5mm×13mm ± 0.3mm  Thickness: 3.0mm ± 0.1mm  Quantity:10

2. Sample size and quantity of “insulation material used for terminal block”

(1) 5.3 a) For flammability class 125mm ± 5mm×13mm ± 0.5mm Quantity: 25

Please adjust in the thickness which does not exceed “Declared thickness of the thinnest part (mm)”.

If the material of terminal block is the same as junction box, there is no necessity to submit.

(2)5.3 a) For High-current arc ignition rating 125mm ± 5mm×13mm ± 0.5mm Quantity: 15

Please adjust in the thickness which does not exceed “Declared thickness of the thinnest part (mm)”.

(3)5.3 b) For “Comparative Tracking Index”　approx.100×100mm Thickness: more than 3.0mm

Quantity: approx.5

rev.2015.2.6

# Text boxes

Approx.

9.53㎜

Width: 3.18mm±0.03㎜

Approx. 63.50mm